## Entire form
Please complete the yellow shaded items.
STORMWATER MANAGEMENT PERMIT APPLICATION FORM
INFILTRATION TRENCH
This form must be completely filled out, printed, initialed, and submitted.
I. PROJECT INFORMATION
Project name
Contact person
Phone number
Date
Drainage area number (for projects with multiple drainage areas, as labeled on plans)
II. DESIGN INFORMATION
Site Characteristics
Drainage area (Include both on- and off-site areas that flow to the trench) | ft2
Impervious area (Include both on- and off-site areas that flow to the trench) | ft2
Percent impervious | %
Project within 0.5 miles & draining to SA Waters
Peak Flow Calculations
Peak flow from the wooded 2-year, 24-hour storm | ft3/sec
Peak flow from the post-development 10-yr storm | ft3/sec
Pre/Post peak flow control | ft3/sec
Storage Volume
1.5" runoff volume | ft3
Pre-development 2-yr, 24-hr runoff volume | ft3
Post-development 10-yr, 24-hr runoff volume | ft3
Minimum volume required | ft3
Volume provided | ft3
Soils Report Summary
Soil type
Infiltration rate | in/hr
SHWT elevation | fmsl
Trench Design Parameters
Drawdown time | days
Perforated pipe diameter | in
Perforated pipe length | ft
Number of laterals
Stone type (if used)
Stone void ratio
Stone is free of fines?
Trench Elevations
Bottom elevation | fmsl
Storage/overflow elevation | fmsl
Top elevation | fmsl
Trench Dimensions
Length (long dimension) | ft
Width (short dimension) | ft
Height (depth) | ft
Additional Information
Maximum volume to each inlet into the trench? | ac-in
Length of vegetative filter strip for overflow (Minimum 50 feet for SA waters, minimum 30 feet for all others) | ft
Number of observation wells
Distance to structure | ft
Distance from surface waters | ft
Distance from water supply well(s) | ft
Separation from impervious soil layer | ft
Depth of naturally occuring soil above SHWT | ft
Bottom covered with 4-in of clean sand? (Bottom must be covered with 4 inches of clean sand, unless native soils contain less than 2% fines)
Proposed drainage easement provided?
Capures all runoff at ultimate build-out?
Bypass provided for larger storms?
Trench wrapped with geotextile fabric?
List pretreatment device provided
III. REQUIRED ITEMS CHECKLIST
EDIT Please indicate the page or plan sheet numbers where the supporting documentation can be found. An incomplete submittal package will result in a request for additional information. This will delay final review and approval of the project. Initial in the space provided to indicate the following design requirements have been met. If the applicant has designated an agent, the agent may initial below. If a requirement has not been met, attach justification.
Requried Item: | Initials | Page or plan sheet number and any notes:
1. Plans (1" - 50' or larger) of the entire site showing: - Design at ultimate build-out, - Off-site drainage (if applicable), - Delineated drainage basins (include Rational C or Curve Number, CN per basin), - Trench dimensions - Pretreatment area, - High flow bypass system, - Outflow device, - Maintenance access, - Proposed drainage easement and public right of way (ROW), and - Boundaries of drainage easement.
2. Plan details (1" = 30' or larger) for the infiltration trench showing: - Basin bottom dimensions, - Basin cross-section with benchmark for sediment cleanout, - High flow bypass system, - Flow distribution detail for inflow, - Vegetated filter strip, and - Pretreatment device
3. Section view of the infiltration trench (1" = 20' or larger) showing: - Pretreatment and treatment areas, and - Inlet and outlet structures.
4. A table of elevations, areas, incremental volumes, and accumulated volumes to verify the volume provided.
5. A soils report that is based upon actual field investigations, soil borings, and infiltration tests. County soil maps are not acceptable.
6. A construction sequence that shows how the infiltration trench will be protected from sediment until the entire drainage area is stabilized.
7. The supporting calculations.
8. A detailed description for the operation and maintenance of the infiltration trench. Refer to the Currituck County Stormwater Manual Appendix B - Sample Maintenance Plan

## Reference
Yes
No