## Enitre Supplement Form
Please complete the yellow shaded items.
STORMWATER MANAGEMENT PERMIT APPLICATION FORM
LEVEL SPREADER - VEGETATED FILTER STRIP (LS-VFS)
This form must be completely filled out, printed, initialed, and submitted.
I. PROJECT INFORMATION
Project name
Contact name
Phone number
Date
Drainage area number (for projects with multiple drainage areas, as labeled on plans)
II. DESIGN INFORMATION
The purpose of the LS-VFS
Stormwater enters LS-VFS from
Type of VFS
Explanation of any "Other" responses above
If Stormwater Enters the LS-VFS from the Drainage Area
Drainage area (Include both on- and off-site areas that flow to the LS-VFS) | ft2
Impervious surface area (Include both on- and off-site areas that flow to the LS-VFS) | ft2
Percent impervious | %
Peak flow from the wooded 2-year, 24-hour storm | cfs
Peak flow from the post-development 10-yr storm | cfs
Maximum amount of flow directed to the LS-VFS | cfs
Is a flow bypass system going to be used?
If no bypass is used, explain:
If Stormwater Enters the LS-VFS from a BMP
Type of BMP
Peak discharge from the BMP (2-year wooded peak flow) | cfs
Maximum capacity of a 100-foot long LS-VFS | cfs
Peak flow directed to the LS-VFS (The capacity of a 100-foot long LS-VFS is as follows: - A maximum of 2 cfs when the VFS is wooded vegetation. - A maximum of 5 cfs when the VFS is herbaceaous vegetation. - A maximium of 10 cfs when the VFS is engineered (graded and sodded). The outlet device for the BMP must be designed so that only the maximum amount of flow that the LS-VFS can handle is directed to it and the rest is bypassed.) | cfs
Is a flow bypass system going to be used?
If no bypass is used, explain:
If other BMP, explain:
LS-VFS Design
Forebay surface area (Leave this cell blank if you are not using a forebay. If a forebay is needed, its surface area should be 0.2% of the impervious surface area draining to the level spreader.) | sq ft
Depth of forebay at stormwater entry point (between 18 and 36 inches) | in
Depth of forebay at stormwater exit point (between 6 and 12 inches) | in
Feet of level lip needed per cfs (based on the VFS type provided above.) | ft/cfs
Computed minimum length of the level lip needed (10-foot minimum) | ft
Length of level lip provided | ft
Width of VFS (The filter strip must be at least 50' wide if: - It is a riparian buffer, or - It is upslope of SA waters. It may be only 30 feet wide if it is not serving one of the above functions.) | ft
Elevation at downslope base of level lip | fmsl
Elevation at the end of the VFS that is farthest from the LS | fmsl
Slope (from level lip to the end of the VFS) Slopes should not exceed 8% for a VFS that is: - An area that is maintained as herbaceous vegetation. - An engineered system (graded and sodded). | %
Are any draws present in the VFS? (Level spreaders may not be located upslope of a draw.)
Is there a collector swale at the end of the VFS? (A collector swale can be installed parallel to the outer edge of the buffer in areas where the buffer is very steep. The swale should be small (no more than 6 inches in depth) and will discharge to the flow bypass system.)
Bypass System Design (if applicable)
Is a bypass system provided? (A bypass device is needed if the level lip is sized for the wooded 2-year, 24-hour storm and also may be needed for some configurations of a LS-VFS that receives flow from a BMP.)
Is there an engineered flow splitting device? (An engineered flow splitting device is usually a necessary component of a flow bypass system.)
Dimensions of the channel (see diagram below):
M | ft
B | ft
W | ft
y (flow depth for 10-year storm) | ft
freeboard (during the 10-year storm) | ft
Peak velocity in the channel during the 10-yr storm (Attach relevant calculations) | ft/sec
Channel lining material
Does the bypass discharge through a wetland? (Level spreaders that discharge to wetlands may not include a bypass channel through the wetland. The bypass device, if used, should discharge to a rip rap dissipator pad placed just outside of the wetland.)
Does the channel enter the stream at an angle? (The channel should enter the stream at an angle to prevent erosion on the opposite stream bank.)
Explanation of any "Other" responses above
III. REQUIRED ITEMS CHECKLIST
EDIT Please indicate the page or plan sheet numbers where the supporting documentation can be found. An incomplete submittal package will result in a request for additional information. This will delay final review and approval of the project. Initial in the space provided to indicate the following design requirements have been met. If the applicant has designated an agent, the agent may initial below. If a requirement has not been met, attach justification.
Requried Item: | Initials | Page or plan sheet number and any notes:
1. Plans (1" - 50' or larger) of the entire site showing: - Design at ultimate build-out, - Off-site drainage (if applicable), - Delineated drainage basins (include Rational C or Curve Number, CN per basin), - Forebay (if applicable), - High flow bypass system, - Maintenance access, - Proposed drainage easement and public right of way (ROW), and - Boundaries of drainage easement.
2. Plan details (1" = 30' or larger) for the level spreader showing: - Forebay (if applicable), - High flow bypass system,
3. Section view of the level spreader (1" = 20' or larger) showing: - Underdrain system (if applicable), - Level lip, - Upslope channel, and - Downslope filter fabric.
4. Plan details of the flow splitting device and supporting calculations (if applicable).
5. A construction sequence that shows how the level spreader will be protected from sediment until the entire drainage area is stabilized.
6. If a non-engineered VFS is being used, then provide a photograph of the VFS showing that no draws are present.
7. The supporting calculations.
8. A detailed description for the operation and maintenance of the VFS. Refer to the Currituck County Stormwater Manual Appendix B - Sample Maintenance Plan

## Reference
Pick one:
Stand Alone BMP
Diffuse flow at the end of a swale discharging to SA waters
Pollutant removal: 25%-40% TSS, 20% TN, 35% TP
Pre-treatment for another BMP
Other: Explained below
Pick one:
The drainage area
A BMP
Pick one:
Protected riparian buffer (slope < 5%)
Engineered filter strip (graded & sodded, slope < 8%)
Wooded stormwater setback (slope < 5%)
Herbaceous stormwater setback (slope < 5%)
Herbaceous stormwater setback (5% < slope < 8%)
Other: Explained below
Pick one:
Wet detention pond
Stormwater Wetland
Bioretention Cell
Infiltration basin
Infiltration trench
Other: Explained below
Pick one:
Grass
Rip-rap
Erosion control matting
Other: Explained below
Yes
No