## Entire Form
Please complete the yellow shaded items.
Examples of the calculations are on the next tab
STORMWATER MANAGEMENT PERMIT APPLICATION FORM
PERMEABLE PAVEMENT
This form must be completely filled out, printed, initialed, and submitted.
I. PROJECT INFORMATION
Project Name |  |  |  | Yes
Contact Person |  |  |  | No
Phone Number
Date
Drainage Area / Lot Number (For projects with multiple drainage areas as shown on plans)
Lot Owner's Signature
II. DESIGN INFORMATION
Soils Report Summary (Include copy of soils report)
Soil type
Infiltration rate (Minimum 0.52 in/hr) | in/hr
SHWT elevation | fmsl
Credit Calculation- Enter an "x" in the appropriate cell below |  | Managed Grass Factor:
Permeable concrete without a gravel base |  |  | 0
Permeable concrete with at least 6" gravel base (All gravel bases should be washed stone) |  |  | 0
Flexible pavements with at least 4" gravel base |  |  | 0
Flexible pavements with at least 7" gravel base |  |  | 0
Bottom elevation of the permeable pavement cross-section (Either at the base of the permeable pavement or the base of the gravel storage layer) | fmsl
Surface area of permeable pavement being proposed | ft2
Resulting BUA counted as impervious | ft2
Additional Information
Slope of soil subgrade at bottom of permeable pavement (Top of soil subgrade should be <= 0.5%. Steeper slopes may be approved on a case-by-case basis, depending on in-situ soils and the use of baffles will be required) | %
Slope of the permeable pavement surface | %
Construction sequence minimizes compaction to soils? (Care should be taken to minimize compaction of in-situ soils)
Traffic volume (vehicles per day) | v/day
Washed stone is specified for the gravel layer (if used)?
Concetrated flow from roofs & other surfaces directed away?
Additional Information for Residential Lots Only
Total BUA allocated to this lot (Total impervious area allocated to this lot as specified in permit and deed restrictions) | ft2
Remaining lot BUA available | ft2
To be completed by permittee / HOA:
Application Approved
Application Rejected
Reason for rejecting application:
Signature of permittee / HOA:
Date
III. REQUIRED ITEMS CHECKLIST
EDIT Please indicate the page or plan sheet numbers where the supporting documentation can be found. An incomplete submittal package will result in a request for additional information. This will delay final review and approval of the project. Initial in the space provided to indicate the following design requirements have been met. If the applicant has designated an agent, the agent may initial below. If a requirement has not been met, attach justification.
Requried Item: | Initials | Page or plan sheet number and any notes:
1. Plans (1" - 50' or larger) of the entire site showing: - Design at ultimate build-out, - Off-site drainage (if applicable), - Delineated drainage basins (include Rational C or Curve Number, CN per basin), - Location of permeable pavement, and - Roof and other surface flow directed away from permeable pavement.
2. Section view (1" = 20' or larger) for the permeable pavement showing: - Layers, and - SHWT
3. A soils report based on actual field investigations, soil borings, and infiltration tests. County soil maps are not acceptable.
4. A construction sequence that shows how the permeable pavement will be protected from sediment until the entire drainage area is stabilized.
5. The supporting calculations.
6. A copy of the deed restrictions (if required).
7. A detailed description for the operation and maintenance of the permeable pavement. Refer to the Currituck County Stormwater Manual Appendix B - Sample Maintenance Plan

## Example Calculations
Example #1
Project is a lot with a maximum allowed BUA of 5,000 sq. ft. that drains to class SC waters.
Project proposes a 1,000 sq. ft. permeable concrete driveway with a 6" gravel base.
Managed grass factor = 0.6
1000 x 0.6 = 600 square feet is counted as managed grass.
1000 - 600 = 400 square feet is counted as built-upon area.
5000 - 400 = 4,600 square feet available for house and other BUA.
Example #2
Project is a high density commercial site with a 5,000 square foot parking lot.
Project is within 1/2 mile of and draining to SA waters. An infiltration system is proposed.
The parking lot will handle <100 cars per day and is a flexible pavement with a 4" gravel base.
Managed grass factor is 0.4.
5000 x 0.4 = 2000 square feet is counted as managed grass.
5000 - 2000 = 3,000 square is counted as impervious.
The total BUA used to calculate the minimum volume draining to the
infiltration system can be reduced by 2,000 square feet.