## Entire Form
Please complete the yellow shaded items.
STORMWATER MANAGEMENT PERMIT APPLICATION FORM
SAND FILTER
This form must be completely filled out, printed, initialed, and submitted.
I. PROJECT INFORMATION
Project name |  |  |  | Yes
Contact name |  |  |  | No
Phone number
Date
Drainage area number (for projects with multiple drainage areas, as labeled on plans)
II. DESIGN INFORMATION
Site Characteristics
Drainage area (AD) (Include both on- and off-site areas that flow to the sand filter) |  | ft2
Drainage area (AD) | 0 | acres
Impervious surface area (Include both on- and off-site areas that flow to the sand filter) |  | ft2
Impervious area | 0 | acres
% Impervious (IA) |  | %
Rv | #DIV/0!
Peak Flow Calculations
Peak flow from the wooded 2-year, 24-hour storm |  | ft3/sec
Peak flow from the post-development 10-yr storm |  | ft3/sec
Pre/Post peak control |  | ft3/sec
Storage Volume
Minimum volume required (1.5" Rainfall Water Quality Volume) |  | ft3
Adjusted water quality volume (WQVAdj) |  | ft3
Volume contained in the sedimentation basin and on top of the sand filter |  | ft3
Top of sand filter/grate elevation |  | ft amsl
Weir elevation (between chambers) |  | ft amsl
Maximum head on the sedimentation basin and sand filter (Typically distance from weir to top of sand bed) |  | ft
Average head on the sedimentation basin and sand filter (hA) |  | ft
Runoff Coefficient (RV) |  | (unitless)
Type of Sand Filter
Open sand filter?
SHWT elevation |  | ft amsl
Bottom of the sand filter elevation |  | ft amsl
Clearance (dSHWT) |  | ft
Closed/pre-cast sand filter?
SHWT elevation |  | ft amsl
Bottom of the sand filter elevation |  | ft amsl
Clearance (dSHWT)
If this is a closed, underground closed sand filter: The clearance between the surface of the sand filter and the ceiling of the underground structure (dSpace) |  | ft
Sedimentation Basin
Minimum Surface area of sedimentation basin required (ASreq)
Surface area of sedimentation basin (AS) |  | ft2
Sedimentation basin/chamber depth |  | ft
Sand Filter
Minimum Surface area of sand filter required (AFreq)
Surface area of sand filter (AF) |  | ft2
Top of sand media filter bed elevation |  | ft amsl
Bottom of sand media filter bed/drain elevation |  | ft amsl
Depth of the sand media filter bed (dF) |  | ft
Coefficient of permeability for the sand filter (k) (Typically 3.5 ft/day) |  | (ft/day)
Outlet diameter |  | in
Outlet discharge/flowrate |  | ft3/sec
Time to drain the sand filter (t) |  | hours
Time to drain the sand filter (t) |  | days
Additional Information
Does volume in excess of the design volume bypass the sand filter?
Is an off-line flow-splitting device used?
If draining to SA waters: Does volume in excess of the design volume flow evenly distributed through a vegetated filter strip?
What is the length of the vegetated filter? |  | ft
Does the design use a level spreader to evenly distribute flow?
Is the BMP located at least 30ft from surface waters (50ft if SA waters)?
If not a closed bottom, is BMP located at least 100ft from water supply wells?
Are the vegetated side slopes equal to or less than 3:1
Is the BMP located in a recorded drainage easement with a recorded access easement to a public Right of Way (ROW)?
What is the width of the sedimentation chamber/forebay (WSed)? |  | ft
What is the depth of sand over the outlet pipe (dpipe)? |  | ft
III. REQUIRED ITEMS CHECKLIST
EDIT Please indicate the page or plan sheet numbers where the supporting documentation can be found. An incomplete submittal package will result in a request for additional information. This will delay final review and approval of the project. Initial in the space provided to indicate the following design requirements have been met. If the applicant has designated an agent, the agent may initial below. If a requirement has not been met, attach justification.
Requried Item: |  | Initials | Page or plan sheet number and any notes:
1. Plans (1" - 50' or larger) of the entire site showing: - Design at ultimate build-out, - Off-site drainage (if applicable), - Delineated drainage basins (include Rational C or Curve Number, CN per basin), - System dimensions for sediment chamber and filter chamber, - High flow bypass system and flow splitting device, - Maintenance access, - Proposed drainage easement and public right of way (ROW), and - Boundaries of drainage easement.
2. Plan details (1" = 30' or larger) for the sand filter showing: - System dimensions for both sedimentation chamber and filter chamber, - High flow bypass system and splitter device, - VFS dimensions and slope (if SA waters)
3. Section view of the sand filter (1" = 20' or larger) showing: - Depth of sand filter media, - Connection between the sedimentation chamber and sand filter chamber and weir elevation, - SHWT elevation, - Outlet pipe, and - Clearance from the surface of the sand filter and the ceiling for an underground structure
4. A soils report that is based upon actual field investigations, soil borings, and infiltration tests. County soil maps are not acceptable.
5. The supporting calculations, including drainage calculations
6. A detailed description for the operation and maintenance of the sand filter. Refer to the Currituck County Stormwater Manual Appendix B - Sample Maintenance Plan