## Entire Form
Please complete the yellow shaded items.
STORMWATER MANAGEMENT PERMIT APPLICATION FORM
GRASSED SWALE
This form must be completely filled out, printed, initialed, and submitted.
I. PROJECT INFORMATION | [6 empty] | Yes
Project name | [6 empty] | No
Contact name
Phone number
Date
Drainage area number (for projects with multiple drainage areas, as labeled on plans)
II. DESIGN INFORMATION
Site Characteristics
The purpose of the swale
Stormwater enters the swale from
Drainage area (Include both on- and off-site areas that flow to the Grassed Swale) |  | ft2
Drainage area | 0 | acres
Impervious surface area (Include both on- and off-site areas that flow to the Grassed Swale) |  | ft2
Impervious area | 0 | acres
Percent impervious |  | %
Peak Flow Calculations
Pre-development wooded 2-yr, 24-hr peak flow |  | ft3/sec
Post-development 10-yr, 24-hr peak flow |  | ft3/sec
Pre/Post peak control |  | ft3/sec
Velocity
Maximum non-erosive velocity (peak 10-year storm) |  | ft/sec
Soil characteristics (enter "x" below)
Sand/silt (easily erodible) |  |  | 0
Clay mix (erosion resistant) |  |  | 0
Grass Type (enter "x" below)
Bermuda |  |  | 0 | 5 | 6
Tall fescue |  |  | 0 | 4.5 | 5.5
Bahiagrass |  |  | 0 | 4.5 | 5.5
Kentucky bluegrass |  |  | 0 | 4.5 | 5.5
Grass-legume mixture |  |  | 0 | 3.5 | 4.5
Swale type: Fill out one of the options below:
Option 1: Curb Outlet Swale:
Maximum velocity
Side slopes (Maximum is 5:1) |  | :1
Swale length (Minimum 100 feet) |  | ft
Option 2: Conveyance Swale, Seeking Pollutant Credit:
Maximum velocity for 10-yr storm (Maximum is 1 ft/sec) |  | ft/sec
Side slopes (Maximum is 5:1) |  | :1
Swale length (Minimum 150 feet) |  | ft
Swale Characteristics
Swale Shape:
Width of the bottom of the swale, B |  | ft
Width of the top of the swale, W |  | ft
Additional Information
Is the swale sized for all runoff from ultimate build-out?
Is the BMP located in a proposed drainage easement with a recorded access easement to a public Right of Way (ROW)?
What is the distance from the bottom of the swale to the SHWT? (Must be at least 1-foot separation between bottom of swale and SHWT for curb-outlets and conveyance swales seeking credit; not needed for conveyances swales NOT seeking credit) |  | ft
What is the ground level elevation? |  | fmsl
What is the elevation of the bottom of the swale? |  | fmsl
What is the SHWT elevation? |  | fmsl
What is the longitudinal slope of the swale? (Maximum slope = 5% where practical) |  | %
What is the depth of freeboard? (Minimum 0.5 feet) |  | ft
III. REQUIRED ITEMS CHECKLIST
EDIT Please indicate the page or plan sheet numbers where the supporting documentation can be found. An incomplete submittal package will result in a request for additional information. This will delay final review and approval of the project. Initial in the space provided to indicate the following design requirements have been met. If the applicant has designated an agent, the agent may initial below. If a requirement has not been met, attach justification.
Requried Item: |  | Initials | Page or plan sheet number and any notes: |  |  | Page or plan sheet number and any notes:
1. Plans (1" - 50' or larger) of the entire site showing: - Design at ultimate build-out, - Off-site drainage (if applicable), - Delineated drainage basins (include Rational C or Curve Number, CN per basin), - Swale dimensions, - Maintenance access, - Proposed drainage easement and public right of way (ROW), - Grass species, and - Boundaries of drainage easement.
2. Plan details (1" = 30' or larger) for the grassed swale showing: - Swale dimensions,
3. Section view of the grassed swale (1" = 20' or larger) showing: - Side slopes, - Longitudinal slope, - Freeboard, and - SHWT level(s)
4. The supporting calculations including maximum velocity calculations.
5. A detailed description for the operation and maintenance of the grassed swale. Refer to the Currituck County Stormwater Manual Appendix B - Sample Maintenance Plan

## References
Pick one:
Curb Outlet for Low-Density Development
Conveyance Swale Seeking Pollution Removal Credit
Conveyance Swale NOT Seeking Pollution Removal Credit
Pick one:
The drainage area
A BMP
Pick one:
Trapezoidal
Parabolic
V-shaped