## Entire Form
Please complete the yellow shaded items.
STORMWATER MANAGEMENT PERMIT APPLICATION FORM
WET DETENTION BASIN
This form must be completely filled out, printed, initialed, and submitted.
I. PROJECT INFORMATION
Project name
Contact person
Phone number
Date |  |  |  | Yes
Drainage area number (for projects with multiple drainage areas, as labeled on plans) |  |  |  | No
II. DESIGN INFORMATION
Site Characteristics
Drainage area (Include both on- and off-site areas that flow to the wet pond) |  | ft2
Drainage area | 0 | acres
Impervious surface area (Include both on- and off-site areas that flow to the wet pond) |  | ft2
Impervious area | 0 | acres
% impervious |  | %
Project within 0.5 miles & draining to SA Waters
Rv | #DIV/0!
Peak Flow Calculations
Peak flow from the wooded 2-year, 24-hour storm |  | ft3/sec
Peak flow from the post-development 10-yr storm |  | ft3/sec
Pre/Post peak flow control |  | ft3/sec
Storage Volume
Minimum volume required (1.5" Rainfall Water Quality Volume) |  | ft3
Volume provided (Temporary pool volume) |  | ft3
Elevations
Temporary pool elevation (Refer to figure on next tab for reference) |  | fmsl
Permanent pool elevation (Elevation at bottom of orifice) |  | fmsl
SHWT elevation (approx. at the perm. pool elevation) |  | fmsl
Top of 10ft vegetated shelf elevation |  | fmsl
Bottom of 10ft vegetated shelf elevation |  | fmsl
Sediment cleanout, top elevation (bottom of pond) |  | fmsl
Sediment cleanout, bottom elevation |  | fmsl
Sediment storage provided |  | ft
SA/DA Table Data
Design TSS removal |  | %
Depth between the bottom of the vegetated shelf and sediment storage |  | ft
Average depth (used in SA/DA table) (Round to nearest 0.5ft)
SA/DA ratio (Refer to the Currituck County Stormwater Manual Table IV-2) |  | (unitless)
Surface Areas
Area, temporary pool |  | ft2
Area REQUIRED, permanent pool |  | ft2
SA/DA ratio (Refer to the Currituck County Stormwater Manual Table IV-2) |  | (unitless)
Area PROVIDED, permanent pool, Aperm_pool |  | ft2
Area, bottom of 10ft vegetated shelf, Abot_shelf (Surface area at the bottom of the 10-foot vegetated shelf; includes main pond and forebay(s)) |  | ft2
Area, sediment cleanout, top elevation (bottom of pond), Abot_pond (Surface area at the bottom of pond excluding sediment storage; do not include forebay(s)) |  | ft2
Volumes
Volume, temporary pool |  | ft3
Volume, permanent pool, Vperm_pool |  | ft3
Volume, forebay (sum of forebays if more than one forebay) |  | ft3
Forebay % of permanent pool volume |  | %
Drawdown Calculations (Refer to figure on next tab for reference)
Drawdown through orifice? |  |  | 0
Diameter of orifice (if circular) |  | in | 0
Area of orifice (if-non-circular) (Only fill out if non-circular orifice is used) |  | in2 | 0
Coefficient of discharge (CD) (Refer to reference table on next tab) |  | (unitless)
Driving head (Ho) |  | ft
Cross-sectional area of the circular orifice, Ao | 0 | ft2
Qorifice | 0
Drawdown through weir? |  |  | 0
Weir type |  |  | 0 | Sharp-crested
If V-notch: Weir orientation |  | degrees | 0 | Broad-crested
Coefficient of discharge (Cv) |  | (unitless) |  | V-notch
Coefficient of discharge (Cw) (Non V-notch weirs)
Length of weir (L) |  | ft
Driving head (H) |  | ft |  | 90
Qweir | #VALUE! |  |  | 60
Peak flow from the wooded 2-year, 24-hour storm |  | ft3/sec |  | 45
Peak flow from the post-development 10-yr storm |  | ft3/sec
Pre/Post peak flow control |  | ft3/sec
Storage volume discharge rate (through discharge orifice or weir) |  | ft3/sec
Storage volume drawdown time |  | days
Additional Information
Vegetated side slopes |  | :1
Vegetated shelf slope |  | :1
Vegetated shelf width |  | ft
Length of flowpath to width ratio |  | :1
Length to width ratio |  | :1
Trash rack for overflow & orifice?
Freeboard provided |  | ft
Vegetated filter strip provided?
Recorded drainage easement provided?
Capures all runoff at ultimate build-out?
Drain mechanism for maintenance or emergencies is:
III. REQUIRED ITEMS CHECKLIST
EDIT Please indicate the page or plan sheet numbers where the supporting documentation can be found. An incomplete submittal package will result in a request for additional information. This will delay final review and approval of the project. Initial in the space provided to indicate the following design requirements have been met. If the applicant has designated an agent, the agent may initial below. If a requirement has not been met, attach justification.
Requried Item: |  | Initials | Page or plan sheet number and any notes:
1. Plans (1" - 50' or larger) of the entire site showing: - Design at ultimate build-out, - Off-site drainage (if applicable), - Delineated drainage basins (include Rational C or Curve Number, CN per basin), - Basin dimensions, - Forebay, - High flow bypass system, - Overflow device, - Maintenance access, - Proposed drainage easement and public right of way (ROW), and - Boundaries of drainage easement.
2. Plan details (1" = 30' or larger) for the wet pond showing: - Forebay and main treatment area, - High flow bypass system, - Outlet structure with trash rack, - Permanent pool dimensions, - Emergency spillway, and - VFS
3. Section view of the wet pond (1" = 20' or larger) showing: - Basin cross section, - Side slopes, 3:1 or lower, - Pretreatment and treatment areas, and - Inlet and outlet structures.
4. Table of elevations, areas, incremental volumes, and accumulated volumes for overall pond and forebay, to verify volume provided
5. A construction sequence that shows how the wet pond will be protected from sediment until the entire drainage area is stabilized.
6. A detailed planting plan for the vegetated shelf.
7. The supporting calculations.
8. A soils report based on actual field investigations, soil borings, and infiltration tests. County soil maps are not acceptable.
9. A detailed description for the operation and maintenance of the wet pond. Refer to the Currituck County Stormwater Manual Appendix B - Sample Maintenance Plan

## Reference
Orifice Coefficients
Entrance Condition | CD
Typical value | 0.6
Square-edged entrance | 0.59
Concrete pipe, grooved end | 0.65
Corrugated metal pipe, mitred to slope | 0.52
Corrugated metal pipe, projecting from fill | 1