## Entire Form
Please complete the yellow shaded items.
STORMWATER MANAGEMENT PERMIT APPLICATION FORM
WETLAND
This form must be completely filled out, printed, initialed, and submitted. |  |  |  | Yes
No
I. PROJECT INFORMATION
Project name
Contact name
Phone number
Date
Drainage area number (for projects with multiple drainage areas, as labeled on plans)
II. DESIGN INFORMATION
Site Characteristics
Drainage area (Include both on- and off-site areas that flow to the wetland) |  | ft2
Drainage area | 0 | acres
Impervious surface area (Include both on- and off-site areas that flow to the wetland) |  | ft2
Impervious area | 0 | acres
Percent impervious |  | %
Project within 0.5 miles & draining to SA Waters
Rv | #DIV/0!
Peak Flow Calculations
Peak flow from the wooded 2-year, 24-hour storm |  | ft3/sec
Peak flow from the post-development 10-yr storm |  | ft3/sec
Pre/Post peak control |  | ft3/sec
Storage Volume
1.5" runoff volume |  | ft3
Volume provided (Refer to Currituck County Stormwater Manual Chapter IV.B.2 for design guidelines) |  | ft3
Outlet Design
Depth of temporary pool/ponding depth (DPlants) |  | in
Drawdown through orifice? |  |  | 0
Diameter of orifice (if circular) |  | in | 0
Area of orifice (if-non-circular) (Only fill out if non-circular orifice is used) |  | in2 | 0
Coefficient of discharge (CD) (Refer to reference table on next tab) |  | (unitless)
Driving head (Ho) |  | ft
Cross-sectional area of the circular orifice, Ao | 0 | ft2
Qorifice | 0
Drawdown through weir? |  |  | 0
Weir type |  |  | 0 | Sharp-crested
If V-notch: Weir orientation |  | degrees | 0 | Broad-crested
Coefficient of discharge (Cv) |  | (unitless) |  | V-notch
Coefficient of discharge (Cw) (Non V-notch weirs)
Length of weir (L) |  | ft |  | 90
Driving head (H) |  | ft |  | 60
Qweir | #VALUE! |  |  | 45
Peak flow from the wooded 2-year, 24-hour storm |  | ft3/sec
Peak flow from the post-development 10-yr storm |  | ft3/sec
Pre/Post peak flow control |  | ft3/sec
Storage volume discharge rate (through discharge orifice or weir) |  | ft3/sec
Storage volume drawdown time |  | days
Surface Areas of Wetland Zones
Surface Area of Entire Wetland |  | ft2
Shallow Land |  | ft2
The shallow land percentage is: |  | %
Shallow Water |  | ft2
The shallow water percentage is: |  | %
Deep Pool
Forebay portion of deep pool (pretreatment) |  | ft2
The forebay surface area percentage is: |  | %
Non-forebay portion of deep pool |  | ft2
The non-forebay deep pool surface area percentage is: |  | %
Total of wetland zone areas |  | ft2
Topographic Zone Elevations
Temporary Pool Elevation (TPE)
Shallow Land (top) |  | ft amsl
Permanent Pool Elevation (PPE)
Shallow Water/Deep Pool (top) |  | ft amsl
Shallow Water bottom |  | ft amsl
Most shallow point of deep pool's bottom |  | ft amsl
Deepest point of deep pool's bottom |  | ft amsl
Design must meet one of the following two options:
Top of PPE is within 6" of SHWT, If yes:
SHWT (Seasonally High Water Table) |  | ft amsl
Wetland has liner with permeability < 0.01 in/hr, If yes:
Depth of topsoil above impermeable liner |  | in
Topographic Zone Depths
Temporary Pool
Shallow Land |  | in
Permanent Pool
Shallow Water |  | in
Deep Pool (shallowest) |  | in
Deep Pool (deepest) |  | in
Planting Plan
Are cattails included in the planting plan?
Number of Plants recommended in Shallow Water Area:
Herbaceous (4+ cubic-inch container) (Minimum required: 50 per 200 sq ft of shallow water = 2 ft on center)
Number of Plants recommended in Shallow Land Area:
Herbaceous (4+ cubic-inch container) (Minimum required: 50 per 200 sq ft of shallow land = 2 ft on center), OR
Shrubs (1 gallon or larger) (Minimum required: 8 per 200 sq ft of shallow land = 5 ft on center), OR
Trees (3 gallon or larger) and Herbaceous (4+ cubic-inch) (Trees are optional, if used recommend: 1 per 200 sq ft plus 40 grass-like herbaceous plants under and around tree) |  | and
Number of Plants provided in Shallow Water Area:
Herbaceous (4+ cubic-inch container)
Number of Plants provided in Shallow Land Area:
Herbaceous (4+ cubic-inch container)
Shrubs (1 gallon or larger)
Trees (3 gallon or larger) and
Grass-like Herbaceous (4+ cubic-inch)
Additional Information
Can the design volume be contained?
Does project drain to SA waters? If yes,
What is the length of the vegetated filter strip? |  | ft
Are calculations for supporting the design volume provided in the application?
Is BMP sized to handle all runoff from ultimate build-out?
Is the BMP located in a recorded drainage easement with a recorded access easement to a public Right of Way (ROW)?
The length to width ratio is: |  | :1
Approximate wetland length |  | ft
Approximate wetland width |  | ft | 0
Approximate surface area using length and width provided |  | ft2 | 0
Will the wetland be stabilized within 14 days of construction?
III. REQUIRED ITEMS CHECKLIST
EDIT Please indicate the page or plan sheet numbers where the supporting documentation can be found. An incomplete submittal package will result in a request for additional information. This will delay final review and approval of the project. Initial in the space provided to indicate the following design requirements have been met. If the applicant has designated an agent, the agent may initial below. If a requirement has not been met, attach justification.
Requried Item: |  | Initials | Page or plan sheet number and any notes:
1. Plans (1" - 50' or larger) of the entire site showing: - Design at ultimate build-out, - Off-site drainage (if applicable), - Delineated drainage basins (include Rational C or Curve Number, CN per basin), - Forebay, - High flow bypass system, - Maintenance access, - Proposed drainage easement and public right of way (ROW), and - Boundaries of drainage easement.
2. Plan details (1" = 30' or larger) for the wetland showing: - Wetland dimensions (and length to width ratio), - Forebay, and - High flow bypass system
3. Section view of the wetland (1" = 20' or larger) showing: - Side slopes, 3:1 or lower, - Wetland layers including: Shallow land, shallow water, deep pools, SHWT, clay liner, and topsoil (if applicable)
4. Detailed planting plan (1" = 20' or larger) showing: - A variety of suitable species (not including cattails), - Sizes, spacing, and locations of plantings, - Total quantity of each type of plant specified, - A planting detail, - The source nursery for plants, and - Fertilizer and watering requirements to establish vegetation.
5. A construction sequence that shows how the wetland will be protected from sediment until the entire drainage area is stabilized.
6. A soils report based on actual field investigations and soil borings. County soil maps are not acceptable.
7. The supporting calculations, including drawdown calculations.
8. A detailed description for the operation and maintenance of the wetland. Refer to the Currituck County Stormwater Manual Appendix B - Sample Maintenance Plan

## References
Orifice Coefficients
Entrance Condition | CD
Typical value | 0.6
Square-edged entrance | 0.59
Concrete pipe, grooved end | 0.65
Corrugated metal pipe, mitred to slope | 0.52
Corrugated metal pipe, projecting from fill | 1